**NIF Disinfection Protocol for Shared Equipment**

**Use Peridox spray bottle for all touch surfaces. Peridox will kill coronavirus in 3 minutes.**

1. Keep your mask on in the microscope room
2. Change to a fresh pair of gloves once you have entered the microscope room.
3. Place a clean plastic barrier on computer and mouse
4. Cut an appropriate size barrier piece for eyepieces
5. Spray **Peridox** on desk surface and air table where you will be working
6. Wet a kimwipe or paper towel with **80% ethanol** and wipe on microscope focus knob, the outside of the eyepieces where your nose will be close to microscope and any power supply buttons
7. Do not wipe the lens of the eye pieces with papertowel. If you must clean the glass use lens wipes
8. **Wait 5 minutes**
9. Wipe off any excess with a paper towel

**Do not spray disinfectant directly onto the microscope or any electrical equipment.**

**Peridox is a 4% peroxide solution. If spilled onto your skin wash thoroughly for 5 minutes with soap and water.**

**Keep Peridox way from your eyes. Avoid breathing in mist.**